## Slide 4: Seminar 4: Lung Cancer

## Slide 5: Task 1

## Slide 6: Introduction
Analyzing the agreement between 2 raters
Data: 2 columns of lung cancer screening results from 2 raters, and 1 column of actual patient diagnosis
Methodology: Kappa calculation, ICC calculation, confusion matrix (sensitivity, specificity, etc), general linear mixed model

## Slide 7: Visualizations
Sum of Ratings
Count of Positive Ratings

## Slide 8: Results
Kappa | Z | p-value
0.58 | 5.8 | 6.65e-09
Kappa | Z | p-value
0.581 | 5.84 | 5.25e-09
Fleiss' Kappa
Cohen's Kappa
Moderate agreement
p-values < 0.05 indicate that we can reject the null hypothesis and that the agreement between the raters is not only due to chance.
ICC indicates moderate to good consistency in the ratings
ICC | P-value | 95% CI | F(99,100)
0.583 | 6.65e-11 | [0.438,0.699] | 3.8
ICC

## Slide 9: Results – Confusion Matrix
McNemar's p-value = 1
P-value (Acc>NIR) = <2e-16
McNemar’s p-value of 1 indicates that there is no significant difference between the rater and the actual diagnosis.

## Slide 10: Results – Confusion Matrix
McNemar's p-value = 0.2673
P-value (Acc>NIR) = 4.774e-13
Lower F1-score than rater 1

## Slide 11: Results – Generalized Linear Mixed Effects Model
 | Estimate Std | Error | Z-value | Pr(>¦z¦)
(Intercept) | -1.9677 | 0.2961 | -6.645 | 3.03e-11
Patient_Diagnosis | 4.3426 | 0.4736 | 9.169 | < 2e-16
Fixed Effects
Strong positive effect
If patient’s diagnosis is positive or 1 -> log-odds increase by 4.34
Odds ratio at exp(4.34) = 76.7 -> raters are 76.7 times more likely to assign 1 or positive when the diagnosis is truly positive.
If patient diagnosis is 0, or at the intercept -> odds ratio is exp(-1.9677) = 0.14.
Random effects of the raters is 0, which means there is not much observed difference between the raters.
This is consistent with the Kappa values of 0.58, which indicate moderate agreement.​

## Slide 12: Conclusion
Moderate agreement between 2 raters shown by Kappa + ICC scores
Kappa p-values < 0.05 indicate that we can reject the null hypothesis and that the agreement between the raters is not only due to chance.
Rater 1 had higher F1-score than Rater 2
Raters are 76.7 times more likely to assign 1 or positive when the diagnosis is truly positive.

## Slide 13: Task 2

## Slide 14: Introduction
♋ Cyfra 21-1 biomarker for detecting non-small cell lung cancer (NSCLC)
🧬 Analytical kits measures concentration in [ng/mL]
🧑🏻‍⚕️ Problems in medicine:
  Different kits yield same result?
  A doctor might diagnose or miss cancer depending on the kit used.
Are Kit 1 and Kit 2 interchangeable?
https://www.raybiotech.com/cyfra-21-1-antigen-md-28-0001p

## Slide 15: Method – workflow
Data imported and analyzed in R (v4.5.1)
Paired dataset ⟹ direct comparisons Kit 1 vs. Kit 2 possible
Exploratory Data Analysis (EDA) to understand patterns
Summary statistics computed for both kits
Statistical analysis using various techniques

## Slide 16: Method – statistical analysis
Scatterplot & Regression – visual assessment
Correlation – linear association between Kit 1 and Kit 2
Paired comparison (t-test) – systematic bias (i.e., one always higher)?
Bland-Altman analysis – accuracy (bias) & precision (variation)
Clinical decision threshold – sensitivity & specificity
Cohen’s kappa (κ) – categorical agreement beyond chance

## Slide 17: Results (1-3)
Regression line close to identity (k=1) line
  Minimal difference (proportional bias)
Pearson correlation coefficient
  r = 0.5846311 ⟹ moderate relationship
  If one kit increases, the other does too.
Paired t-test: p = 0.9166
  Insignificant mean difference ⟹ low bias (high accuracy)
Further tests needed...

## Slide 18: Results (4) – Bland-Altman analysis
Near-zero mean difference
  ⟹ high accuracy (low bias)
  Consistent with previous results.
Wide Limits of Agreement (LOA)
  ⟹ low precision (high variation)
  Kits do not align on individual measurements.

## Slide 19: Results (5) – Sensitivity & Specificity
A clinical decision threshold set to 3.3 ng/mL
  If concentration is below, patient is classified as negative.
  Else, patient is classified as positive.
  Check agreement of Kit 1 with Kit 2 (treated as reference).
Sensitivity (72%)
  ⟹ Kit 1 misses 28% of the positive cases that Kit 2 identifies.
  ⟹ Instead, 28% are classified as (false) negatives.
Specificity (75%)
  ⟹ Kit 1 misses 25% of the negative cases that Kit 2 identifies.
  ⟹ Instead, 25% are classified as (false) positives.
https://medium.com/trusted-data-science-haleon/specificity-and-sensitivity-in-data-science-9d0c19b102ab

## Slide 20: Results (6) – Cohen’s kappa
Same clinical decision threshold of 3.3 ng/mL
  ⟹ Check for categorical (positive/negative) agreement beyond chance.
Acceptable κ-levels
  < 0.40 ⟹ Poor
  0.41–0.60 ⟹ Moderate
  0.61–0.80 ⟹ Good
  0.80 ⟹ Excellent / interchangeable
κ = 0.48
  ⟹ Only moderate categorical agreement.
  ⟹ Not acceptable for diagnostics.

## Slide 21: Conclusion
Interchangeable ≈ Agreement = no bias + no variability
  ⟹ Bland-Altman is the optimal approach.
Consistency between different statistical analyses
  ⟹ high accuracy, low precision.
Too low sensitivity (72%) and specificity (75%) for clinical reliability
  ⟹ Consistent clinical interpretation cannot be ensured.
Cohen’s kappa (κ = 0.48) indicated only moderate agreement beyond chance
Ultimately, Kit 1 and Kit 2 are not interchangeable!

## Slide 22: Task 3

## Slide 23: The task
Carcinoembryonic antigen (CEA) is a biomarker that has shown potential for detecting and monitoring cancer.
This task investigated agreement of 100 CEA measurements across five quantitative Enzyme-linked immunoabsorbent assays (Elisa).
Visualise with plots and summary statistics
Bland-Altman plots
Mixed-effects model + ICC

## Slide 24: Visualisations
Boxplot:
  Showed similar overall CEA measurements.
    Similar means and maximum/minimum values.
  X2 had a slightly higher maximum, and X3 and X5 slightly lower minimums.
  Values range mostly between 3.5 and 5.5
Pairwise correlation plot:
  Relatively high correlations between all assays.
  Scatterplots showed linear relationships.
  All assays appeared normally or near-normally distributed, some were slightly skewed.

## Slide 25: Bland-Altman plots
Mean difference near 0 for all pairs -> low bias.
Most differences ranged between +/- 0.6 to 1 unit.
Four pairs displayed some proportional bias, meaning differences got larger for larger measurement values.
No proportional bias
Some proportional bias
Overall looked quite good, but differences > 1 are quite big as measurements ranged from ~3-5

## Slide 26: Mixed-effects modelling
Mixed-effects model with assay as fixed effect, and subject as random intercept.
 | Estimate | p-value
(Intercept) (X1) | 4.53 | < 2e-16
Assay X2 | 0.047 | 0.236
Assay X3 | -0.005 | 0.904
Assay X4 | 0.013 | 0.740
Assay X5 | -0.017 | 0.673
Fixed-effects estimates
Fixed-effects estimates showed no significant differences between assays + estimated differences were small.
Also from model:
  Between-subject standard deviation = 0.248.
  Within-subject residual variance = 0.283.
  ICC = 0.44
A two-way icc checking for agreement for single raters was also calculated. Yielded ICC = 0.44.

## Slide 27: Conclusion
Assays produced similar CEA measurements:
  Low mean differences, no statistically significant fixed-effects differences.
The mixed effects-model indicated that between-subject SD and within-subject residual variance were of similar size, meaning actual differences between subjects were rougly of the same magnitude as measurement errors.
An ICC value of 0.44 indicates relatively poor agreement.
So: assays produced similar overall results, but agreement was poor. Individual measurements are therefore not interchangeable.

## Slide 28: Task 4
External Validation of a Lung-Cancer Risk Prediction Model

## Slide 29: Data & Objectives
Data
  1000 patients
  True outcome: cancer vs no cancer
  Model output: predicted probability of cancer
Aim of Task 4
  Evaluate how well the model performs in an independent dataset
  Inspect discrimination (AUC), classification thresholds, and calibration
  Decide which threshold is clinically appropriate

## Slide 30: Predicted Probability Distributions
Shows how predicted risks differ between cancer (1) vs non-cancer (0) patients
There is clear separation but also substantial overlap, meaning no threshold will perfectly separate the groups
This overlap explains why sensitivity and specificity change as the threshold moves
Cancer and non-cancer risks overlap → threshold choice matters.

## Slide 31: Discrimination (ROC & AUC)
AUC = 0.85 (95% CI: 0.83–0.88)
Indicates good ability to rank patients by risk
Consistent separation between classes

## Slide 32: Threshold Performance
Threshold sweep from 0 to 1
Sensitivity falls as the threshold increases
Specificity rises as the threshold increases
No single cutoff is ideal because of class overlap
Choice of threshold depends on clinical priority

## Slide 33: Threshold Performance
Threshold | Sens | Spec | Notes
0.5 (default) | 0.95 | 0.51 | High sensitivity, moderate NPV → suitable for screening
0.49 (high-sens target) | 0.95 | 0.48 | Captures almost all cancers; more false positives
0.6 (Youden) | 0.82 | 0.74 | Best balance, but misses more cancers
0.71 (high-spec) | 0.56 | 0.90 | Good at ruling-in, not for initial screening

## Slide 34: Calibration (Deciles)
Hosmer–Lemeshow
Shows the models ability to predict risks consistently
p < 0.001 → evidence of miscalibration
Low-risk groups: model overestimates risk
High-risk groups: predictions align well with observed rates
Brier score
measure overall accuracy of probabilistic predictions of the model.
0.18 → moderate probability accuracy
Overall: probabilities are not perfectly calibrated

## Slide 35: Calibration (Slope & Intercept)
Intercept ≈ –1.03 → model overpredicts risk overall
Slope ≈ 2.06 → probability curve too steep
Deviation from 45° line → predicted probabilities need recalibration

## Slide 36: Clinical Interpretation
What the model is good at:
  Detecting cancer with high sensitivity
  Ranking patients by risk (good AUC)
What the model struggles with:
  Overestimates low-risk cases
  Produces imperfect probability estimates
  Requires recalibration before being used for actual risk communication
Best clinical use: A high-sensitivity threshold (~0.49) for triage or screening, where avoiding missed cancers is the priority.

## Slide 37: Conclusion
Strong discrimination (AUC 0.85) but imperfect calibration
Threshold choice depends on priorities → for lung cancer detection, sensitivity dominates
Use a high-sensitivity threshold for screening; calibrate the predicted probabilities before clinical deployment