Medicinsk mätteknik

HL1203 HT21-1 Medicinsk mätteknik, 9,0 hp

2020-08-24

Kungliga Tekniska Högskolan

Sahand

sahandkh@kth.se

sahandkhoda@gmail.com

Kursansvarig och examinator: Matilda Larsson

E-mailadress: matil@kth.se

The course

Lecture 1

Friday 17 December 2021

1 Introduction

Unless you have a measurement system that can measure excessive numbers (data), there can be no science. As engineers, we must be able to provide information, typically described in a manual, about the instrument: how it functions and how to use it in practice.

In order to identify and characterize a disorder or disease, in other words, to determine a diagnosis, medical parameters are examined in clinical procedures. Diagnostical procedures are prior to therapeutic procedures (relating to the healing or treatment of disease).

2 Cardiovascual and circulatory system

A healthy and well-functioning interaction between the cardiovascular and circulatory system – the heart and lung function, respectively – is crucial for survival. Failures of which can result in severely deterioration of body function and health, potentially causing mental and/or physical illness.

- open and close

- sound (turbulent, obstruction)

2.1 Blood pressure

The blood pressure is measured in …

- upper and lower – diastole and systole (contract)

- 120/80 mm mercury

- Other many units. Pascal, bar, force per square meter

- During the diastole, when the heart closes, the aorta is elastic?

2.2 Blood values

- Oxygen most important

- One drop of blood, about 50 microliter. One microliter has about 250 red blood cells, each of these are binding with oxygen (1 billion molecules).

- Carrying nutrition, regulating body temperature,

- Without the presence of oxygen, we wouldn’t function

- Red blood cells use more energy to carry oxygen. It cannot on its own?

- We have around 5 liters of blood: blood cells and plasma

- 60-70% is water

- Clinical blood tests to, for example, examine the oxygen saturation (below 90% is not healthy).

- Glucose in blood

- Values must be accurate and within a known interval

2.3 Temperature

The most frequent measured parameter, human body temperature, is a basic analysis in any clinical application. Human body temperature varies depending on gender, age, time of day, health status, what part of the body the measurement is taken at, geographical location (which part of the world), exertion level (physical or mental effort), state of consciousness and emotion. Nevertheless, it is vital that the body temperature is within a normal range of 36,5-37 °C. Adjustments of which is regulated by thermoregulation, triggered the central nervous system (CNS). There are three fundamental units: Celsius, Kelvin, Fahrenheit. Conversion is important!

2.4 Respiration

- What is the maximum/minimum?

- How fast can you breathe in/out?

- How many times do you breathe?

3 Biosignals

Information in living organisms, in the form of biosignals (chemical messages), is received from various sources, which originate in either the body or its surroundings, and transduced by receptors. Therefore, in order to read the signal, the body needs well-adapted sensors, an adequate filtering, and effective amplifying. The signal must be accurate, specific, and reliable, as well as having high resolution and linear characteristics.

Diagnostic (examine disorder) vs Therapeutic (treat disorder).

Diagnostic: MRI, ultrasound

Therapeutic: ICD, pacemaker, defibrillator, insulin pump

Assignment

- What is the function of the device?

- What are the sensors of this device?

  - Pressure sensors

  - Flow sensors

  - Concentration sensor, to check if radiation is efficient

- What are the risks?

  - If the concentration isn’t proper, the patient will be harmed.

Ultrasound

21 December 2021

1 Introduction

In order to identify and characterize a disorder or disease, in other words, to determine a diagnosis, medical parameters are examined in clinical procedures. Diagnostical procedures are prior to therapeutic procedures (relating to the healing or treatment of disease). There are two main types of treatments: diagnostics (examine disorder) and therapeutics (treat disorder).

Medicinskt instrument är alla instrument, apparater eller apparater som ska användas av människor i syfte att:

- Diagnos, förebyggande, övervakning, behandling eller lindring av sjukdom, eller kompensation för en skada eller handikapp

- Utredning, ersättning eller modifiering av anatomin eller av en fysiologisk process

Diagnostic vs. Therapeutic

Therapeutic is a medical treatment intended to alleviate or heal a disorder or other types of impairment, mental or physical, by means of physical or psychological therapy.

Diagnostics is a treatment intended to detect and examine a possible disability, illness, or other problems, rather than relieve or heal pain, and give a prognosis. Whereas diagnostical treatments doesn’t relive but rather examine the disorder.

There is a various diagnostic (e.g. MRI and ultrasound) and therapeutic (e.g. ICD, pacemaker, defibrillator, and insulin pump) medical treatment (aids or procedures) from a clinical and health-related point of view.

2 Cardiovascual and circulatory system

A healthy and well-functioning interaction between the cardiovascular and circulatory system – the heart and lung function, respectively – is crucial for survival. Failures of which can result in severely deterioration of body function and health, potentially causing mental and/or physical illness.

3 Biosignals

In the form of biosignals, information in living organisms is received from various sources and transduced by receptors. Therefore, to (continually) measure the signals, the body (of the biological being) needs well-adapted sensors, adequate, and effective amplifying. In addition, the signals must be accurate, specific, and reliable. It is also desired that the signal has a high resolution and linear characteristic.

3.1 The origin of the biosignals as a basis of their classification

The origin of the biosignals – either in the body or its surroundings – determines their classification. The term refers to both electrical and non-electrical signals (messages):

- Electric biosignals		or bio-electrical signal

- Magnetic biosignals 		or bio-magnetic signal

- Mechanic biosignals		or bio-mechanic signal

- Optic biosignals		or bio-optic signal

- Acoustic biosignals		or bio-acoustic signal

- Chemical biosignals		or bio-chemical signal

- Thermal biosignals		or bio-thermal signal

- Ultrasound signals

4 The function of the device

What is the function of the device? The measurement system? Transducers? Sensors? Actuators?

Unless you have a measurement system that can measure excessive numbers (data), there can be no science. As engineers, we must be able to provide information, typically described in a manual, about the instrument: how it functions and how to use it in practice.

Medical instrument is any instrument, apparatus, or appliance to be use for human beings for the purpose of:

- Diagnosis, prevention, monitoring, treatment or alleviation of disease, or compensation for an injury or handicap

- Investigation, replacement or modification of the anatomy or of a physiological process

4.1 From signal source to signal detection

- The sensors

What are the sensors of this device? Sensor characteristics? Pressure sensors? Flow sensors? Concentration sensors (to check if radiation is efficient)? Types of sensors?

- Active, passive, self-generating, modulating (non-self-generatin)

- Smart and intelligent

- Signal conditioning and interfacing

6 The risks

What are the risks? If the concentration isn’t proper, the patient will be harmed. Measurement errors? What parameters do we measure? Measurement of vital parameters, methods, and interpretations.